## Slide 1: ETERNUS CD10000
Management Node Backup and Restore

## Slide 2: Content
Daily Backup of Management Node
Fujitsu Backup and Recovery Utility
Management Node Recovery

## Slide 3: Daily Backup of Management Node (1)
The management node should be backed up on a daily basis
  Important configuration files for the network and node configurations are stored on the management node
  VSM stores configuration and status information in its own databases
Fujitsu Backup and Recovery Tool (fbart)
  Automated and on-demand backup using “fbart backup”
  Has its own configuration tool “fbart config”
  Automated recovery of a selected backup using “fbart restore”
  Provides logging in /var/log/fbart/fbart.log*
  Uses rsync to move data
  Backs up to storage nodes
  Job scheduling via root crontab
  Refer to pages 49, 131-138 of the ETERNUS CD 10000 User manual

## Slide 4: Daily Backup of Management Node (2)
Usage fbart [-h] [-v] {backup, config, restore}
“fbart config” configures the following parameters
  Backup destinations on two storage nodes (defaults: storage1, storage2)
  Backup frequency, default every 8 hours
  Backup expiration, default is 7 days
  Destination folder, /backup is the default
  Include source folders to backup
  Exclude filters
Backup
  On demand backup using “fbart –v backup”
Notes: Maria DB official command Examples
Backing up a single database
shell> mysqldump db_name > backup-file.sql is here "vsm" the name of the DB? Restoring or loading the database
shell> mysql db_name < backup-file.sql # mysql vsm < home/MariaDB/backup/backup_file.sql
#python /opt/fujitsu/fipmanager/webservice/manage.py restoredata > /home/PostgreSQL/backup/fipdump.json

## Slide 5: Management Node Replacement
If the Management Node is not functional because of a severe hardware problem the cluster itself is fully functional, except
  SNMP traps are not forwarded to the SNMP management station
  Monitoring with the VSM GUI is not possible
  Log files are not collected
The operating system of the Management Node resides on mirrored drives
Restore
  If the Management Node must be physically replaced, Fujitsu will prepare new hardware, load the management node OS and recover the backup using “fbart restore”.