## Issue History
Cable Table Issue History
Date | Issue | Change Details
2016-01-17 | 1 | Initial documentation.
2016-01-28 | 2 | Updates/corrections, uploaded to github

## Rbridge-101 (A1)
Rbridge-101 (A1)
Port | Server Name + Port | VLAN | Port-Channel | Cable Label - Location A | Cable Label - Location Z | Cable Label A | Cable Label Z | Cable Type | Cable Length | Notes
Ten 101/0/1 | ceph-lenovo01 p4 |  |  | u41:p1 | u01-u02:p4 | RBridge-101 (A1) 101/0/1 | ceph-lenovo01 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/2 | ceph-lenovo02 p4 |  |  | u41:p2 | u03-u04:p4 | RBridge-101 (A1) 101/0/2 | ceph-lenovo02 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/3 | ceph-lenovo03 p4 |  |  | u41:p3 | u05-u06:p4 | RBridge-101 (A1) 101/0/3 | ceph-lenovo03 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/4 | ceph-lenovo10 p4 |  |  | u41:p4 | u19-u20:p4 | RBridge-101 (A1) 101/0/4 | ceph-lenovo10 p4 | 10G-SFPP-TWX-0301
Ten 101/0/5 |  |  |  | r4:pA:c2:u41:p5 |  | RBridge-101 (A1) 101/0/5
Ten 101/0/6 |  |  |  | r4:pA:c2:u41:p6 |  | RBridge-101 (A1) 101/0/6
Ten 101/0/7 |  |  |  | r4:pA:c2:u41:p7 |  | RBridge-101 (A1) 101/0/7
Ten 101/0/8 |  |  |  | r4:pA:c2:u41:p8 |  | RBridge-101 (A1) 101/0/8
Ten 101/0/9 |  |  |  | r4:pA:c2:u41:p9 |  | RBridge-101 (A1) 101/0/9
Ten 101/0/10 |  |  |  | r4:pA:c2:u41:p10 |  | RBridge-101 (A1) 101/0/10
Ten 101/0/11 |  |  |  | r4:pA:c2:u41:p11 |  | RBridge-101 (A1) 101/0/11
Ten 101/0/12 |  |  |  | r4:pA:c2:u41:p12 |  | RBridge-101 (A1) 101/0/12
Ten 101/0/13 |  |  |  | r4:pA:c2:u41:p13 |  | RBridge-101 (A1) 101/0/13
Ten 101/0/14 |  |  |  | r4:pA:c2:u41:p14 |  | RBridge-101 (A1) 101/0/14
Ten 101/0/15 |  |  |  | r4:pA:c2:u41:p15 |  | RBridge-101 (A1) 101/0/15
Ten 101/0/16 |  |  |  | r4:pA:c2:u41:p16 |  | RBridge-101 (A1) 101/0/16
Ten 101/0/17 | ceph-lenovo07 p5 |  |  | r4:pA:c2:u41:p17 | u13-u14:p5 | RBridge-101 (A1) 101/0/17 | ceph-lenovo07 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/18 | ceph-lenovo08 p5 |  |  | r4:pA:c2:u41:p18 | u15-u16:p5 | RBridge-101 (A1) 101/0/18 | ceph-lenovo08 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/19 | ceph-lenovo09 p5 |  |  | r4:pA:c2:u41:p19 | u17-u18:p5 | RBridge-101 (A1) 101/0/19 | ceph-lenovo09 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/20 |  |  |  | r4:pA:c2:u41:p20 |  | RBridge-101 (A1) 101/0/20
Ten 101/0/21 |  |  |  | r4:pA:c2:u41:p21 |  | RBridge-101 (A1) 101/0/21
Ten 101/0/22 |  |  |  | r4:pA:c2:u41:p22 |  | RBridge-101 (A1) 101/0/22
Ten 101/0/23 |  |  |  | r4:pA:c2:u41:p23 |  | RBridge-101 (A1) 101/0/23
Ten 101/0/24 |  |  |  | r4:pA:c2:u41:p24 |  | RBridge-101 (A1) 101/0/24
Ten 101/0/25 |  |  |  | r4:pA:c2:u41:p25 |  | RBridge-101 (A1) 101/0/25
Ten 101/0/26 |  |  |  | r4:pA:c2:u41:p26 |  | RBridge-101 (A1) 101/0/26
Ten 101/0/27 |  |  |  | r4:pA:c2:u41:p27 |  | RBridge-101 (A1) 101/0/27
Ten 101/0/28 |  |  |  | r4:pA:c2:u41:p28 |  | RBridge-101 (A1) 101/0/28
Ten 101/0/29 |  |  |  | r4:pA:c2:u41:p29 |  | RBridge-101 (A1) 101/0/29
Ten 101/0/30 |  |  |  | r4:pA:c2:u41:p30 |  | RBridge-101 (A1) 101/0/30
Ten 101/0/31 |  |  |  | r4:pA:c2:u41:p31 |  | RBridge-101 (A1) 101/0/31
Ten 101/0/32 |  |  |  | r4:pA:c2:u41:p32 |  | RBridge-101 (A1) 101/0/32
Ten 101/0/33 |  |  |  | r4:pA:c2:u41:p33 |  | RBridge-101 (A1) 101/0/33
Ten 101/0/34 |  |  |  | r4:pA:c2:u41:p34 |  | RBridge-101 (A1) 101/0/34
Ten 101/0/35 |  |  |  | r4:pA:c2:u41:p35 |  | RBridge-101 (A1) 101/0/35
Ten 101/0/36 |  |  |  | r4:pA:c2:u41:p36 |  | RBridge-101 (A1) 101/0/36
Ten 101/0/37 |  |  |  | r4:pA:c2:u41:p37 |  | RBridge-101 (A1) 101/0/37
Ten 101/0/38 | ceph-quanta-03:p3 |  |  | u41:p38 | u37:p3 | RBridge-101 (A1) 101/0/38 | ceph-quanta-03:p3 | 10G-SFPP-TWX-0101 | 1m
Ten 101/0/39 | ceph-quanta-01:p4 |  |  | u41:p39 | u35:p4 | RBridge-101 (A1) 101/0/39 | ceph-quanta-01:p4 | 10G-SFPP-TWX-0101 | 1m
Ten 101/0/40 | CSAIL UPLINK |  |  | r4:pA:c2:u41:p40 | r5:pB:c18:u39:p6 | RBridge-101 (A1) 101/0/40 | CSAIL Juniper Switch p6 | 10G-SFPP-SR + LC-LC Fiber | 35m | Currently labeled with correct info for MIT side, incorrect info for BU side
Ten 101/0/41 | RBridge-3 (A2) 3/0/45 |  |  | r4:pA:c2:u41:p41 | r5:pA:c3:u41:p45 | RBridge-101 (A1) 101/0/41 | RBridge-3 (A2) 3/0/45 | 10G-SFPP-AOC-1001 | 10m | note non-unform cable lengths for this link; it was spec'ed at 5m, needed 7m, used what we had
Ten 101/0/42 | RBridge-3 (A2) 3/0/46 |  |  | r4:pA:c2:u41:p42 | r5:pA:c3:u41:p46 | RBridge-101 (A1) 101/0/42 | RBridge-3 (A2) 3/0/46 | 10G-SFPP-AOC-1001 | 10m
Ten 101/0/43 | RBridge-3 (A2) 3/0/47 |  |  | r4:pA:c2:u41:p43 | r5:pA:c3:u41:p47 | RBridge-101 (A1) 101/0/43 | RBridge-3 (A2) 3/0/47 | 10G-SFPP-TWX-0701 | 7m
Ten 101/0/44 | RBridge-3 (A2) 3/0/48 |  |  | r4:pA:c2:u41:p44 | r5:pA:c3:u41:p48 | RBridge-101 (A1) 101/0/44 | RBridge-3 (A2) 3/0/48 | 10G-SFPP-TWX-0701 | 7m
Ten 101/0/45 | RBridge-104 (D6) 104/0/41 |  |  | r4:pA:c2:u41:p45 | r4:pA:c4:u43:p41 | RBridge-101 (A1) 101/0/45 | RBridge-104 (D6) 104/0/41 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/46 | RBridge-104 (D6) 104/0/42 |  |  | r4:pA:c2:u41:p46 | r4:pA:c4:u43:p42 | RBridge-101 (A1) 101/0/46 | RBridge-104 (D6) 104/0/42 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/47 | RBridge-104 (D6) 104/0/43 |  |  | r4:pA:c2:u41:p47 | r4:pA:c4:u43:p43 | RBridge-101 (A1) 101/0/47 | RBridge-104 (D6) 104/0/43 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/48 | RBridge-104 (D6) 104/0/44 |  |  | r4:pA:c2:u41:p48 | r4:pA:c4:u43:p44 | RBridge-101 (A1) 101/0/48 | RBridge-104 (D6) 104/0/44 | 10G-SFPP-TWX-0301 | 3m
For 101/0/49 | RBridge-102 (B1) 102/0/50 |  |  | u:41:p49 | u42:p50 | RBridge-101 (A1) 101/0/49 | RBridge-102 (B1) 102/0/50 | 40G-QFSP-QFSP-C-0101 | 1m
For 101/0/50 | RBridge-10 (D1) 10/0/49 |  |  | r4:pA:c2:u41:p50 | r5:pA:c10:u41:p49 | RBridge-101 (A1) 101/0/50 | RBridge-10 (D1) 10/0/49 | 40G-QFSP-SR4 + MTP-MTP Fiber | 15m
For 101/0/51 |  |  |  | r4:pA:c2:u41:p51 |  | RBridge-101 (A1) 101/0/51
For 101/0/52 |  |  |  | r4:pA:c2:u41:p52 |  | RBridge-101 (A1) 101/0/52

## Rbridge-102 (B1)
Rbridge-101 (A1)
Port | Server Name + Port | VLAN | Port-Channel | Cable Label - Location A | Cable Label - Location Z | Cable Label A | Cable Label Z | Cable Type | Cable Length | Notes
Ten 101/0/1 |  |  |  | u42:p1 | u07-u08:p4 | RBridge-102 (B1) 102/0/1 | ceph-lenovo04 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/2 |  |  |  | u42:p2 | u09-u10:p4 | RBridge-102 (B1) 102/0/2 | ceph-lenovo05 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/3 |  |  |  | u42:p3 | u11-u12:p4 | RBridge-102 (B1) 102/0/3 | ceph-lenovo06 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/4 |  |  |  | r4:pA:c2:u42:p4 |  | RBridge-102 (B1) 102/0/4
Ten 101/0/5 |  |  |  | r4:pA:c2:u42:p5 |  | RBridge-102 (B1) 102/0/5
Ten 101/0/6 |  |  |  | r4:pA:c2:u42:p6 |  | RBridge-102 (B1) 102/0/6
Ten 101/0/7 |  |  |  | r4:pA:c2:u42:p7 |  | RBridge-102 (B1) 102/0/7
Ten 101/0/8 |  |  |  | r4:pA:c2:u42:p8 |  | RBridge-102 (B1) 102/0/8
Ten 101/0/9 |  |  |  | r4:pA:c2:u42:p9 |  | RBridge-102 (B1) 102/0/9
Ten 101/0/10 |  |  |  | r4:pA:c2:u42:p10 |  | RBridge-102 (B1) 102/0/10
Ten 101/0/11 |  |  |  | r4:pA:c2:u42:p11 |  | RBridge-102 (B1) 102/0/11
Ten 101/0/12 |  |  |  | r4:pA:c2:u42:p12 |  | RBridge-102 (B1) 102/0/12
Ten 101/0/13 |  |  |  | r4:pA:c2:u42:p13 |  | RBridge-102 (B1) 102/0/13
Ten 101/0/14 |  |  |  | r4:pA:c2:u42:p14 |  | RBridge-102 (B1) 102/0/14
Ten 101/0/15 |  |  |  | r4:pA:c2:u42:p15 |  | RBridge-102 (B1) 102/0/15
Ten 101/0/16 |  |  |  | r4:pA:c2:u42:p16 |  | RBridge-102 (B1) 102/0/16
Ten 101/0/17 |  |  |  | r4:pA:c2:u42:p17 | u01-u02:p5 | RBridge-102 (B1) 102/0/17 | ceph-lenovo01 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/18 |  |  |  | r4:pA:c2:u42:p18 | u03-u04:p5 | RBridge-102 (B1) 102/0/18 | ceph-lenovo02 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/19 |  |  |  | r4:pA:c2:u42:p19 | u05-u06:p5 | RBridge-102 (B1) 102/0/19 | ceph-lenovo03 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/20 |  |  |  | r4:pA:c2:u42:p20 | u19-u20:p5 | RBridge-102 (B1) 102/0/20 | ceph-lenovo10 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/21 |  |  |  | r4:pA:c2:u42:p21 |  | RBridge-102 (B1) 102/0/21
Ten 101/0/22 |  |  |  | r4:pA:c2:u42:p22 |  | RBridge-102 (B1) 102/0/22
Ten 101/0/23 |  |  |  | r4:pA:c2:u42:p23 |  | RBridge-102 (B1) 102/0/23
Ten 101/0/24 |  |  |  | r4:pA:c2:u42:p24 |  | RBridge-102 (B1) 102/0/24
Ten 101/0/25 |  |  |  | r4:pA:c2:u42:p25 |  | RBridge-102 (B1) 102/0/25
Ten 101/0/26 |  |  |  | r4:pA:c2:u42:p26 |  | RBridge-102 (B1) 102/0/26
Ten 101/0/27 |  |  |  | r4:pA:c2:u42:p27 |  | RBridge-102 (B1) 102/0/27
Ten 101/0/28 |  |  |  | r4:pA:c2:u42:p28 |  | RBridge-102 (B1) 102/0/28
Ten 101/0/29 |  |  |  | r4:pA:c2:u42:p29 |  | RBridge-102 (B1) 102/0/29
Ten 101/0/30 |  |  |  | r4:pA:c2:u42:p30 |  | RBridge-102 (B1) 102/0/30
Ten 101/0/31 |  |  |  | r4:pA:c2:u42:p31 |  | RBridge-102 (B1) 102/0/31
Ten 101/0/32 |  |  |  | r4:pA:c2:u42:p32 |  | RBridge-102 (B1) 102/0/32
Ten 101/0/33 |  |  |  | r4:pA:c2:u42:p33 |  | RBridge-102 (B1) 102/0/33
Ten 101/0/34 |  |  |  | r4:pA:c2:u42:p34 |  | RBridge-102 (B1) 102/0/34
Ten 101/0/35 |  |  |  | r4:pA:c2:u42:p35 |  | RBridge-102 (B1) 102/0/35
Ten 101/0/36 |  |  |  | r4:pA:c2:u42:p36 |  | RBridge-102 (B1) 102/0/36
Ten 101/0/37 |  |  |  | r4:pA:c2:u42:p37 |  | RBridge-102 (B1) 102/0/37
Ten 101/0/38 |  |  |  | u42:p38 | u35:p3 | RBridge-102 (B1) 102/0/38 | ceph-quanta01 p3 | 10G-SFPP-TWX-0101 | 1m | audit cable length
Ten 101/0/39 |  |  |  | u42:p39 | u36:p4 | RBridge-102 (B1) 102/0/39 | ceph-quanta02 p4 | 10G-SFPP-TWX-0101 | 1m | audit cable length
Ten 101/0/40 |  |  |  | r4:pA:c2:u42:p40 | reserved | RBridge-102 (B1) 102/0/40 | reserved |  |  | Reserved for additional outside links in (see A1)
Ten 101/0/41 |  |  |  | r4:pA:c2:u42:p41 | r5:pA:c17:u41:p45 | RBridge-102 (B1) 102/0/41 | RBridge-17 (B2) 17/0/45 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/42 |  |  |  | r4:pA:c2:u42:p42 | r5:pA:c17:u41:p46 | RBridge-102 (B1) 102/0/42 | RBridge-17 (B2) 17/0/46 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/43 |  |  |  | r4:pA:c2:u42:p43 | r5:pA:c17:u41:p47 | RBridge-102 (B1) 102/0/43 | RBridge-17 (B2) 17/0/47 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/44 |  |  |  | r4:pA:c2:u42:p44 | r5:pA:c17:u41:p48 | RBridge-102 (B1) 102/0/44 | RBridge-17 (B2) 17/0/48 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/45 |  |  |  | r4:pA:c2:u42:p45 | r5:pA:c5:u41:p41 | RBridge-102 (B1) 102/0/45 | RBridge-5 (A6) 5/0/41 | 10G-SFPP-AOC-0701 | 7m
Ten 101/0/46 |  |  |  | r4:pA:c2:u42:p46 | r5:pA:c5:u41:p42 | RBridge-102 (B1) 102/0/46 | RBridge-5 (A6) 5/0/42 | 10G-SFPP-AOC-0701 | 7m
Ten 101/0/47 |  |  |  | r4:pA:c2:u42:p47 | r5:pA:c5:u41:p43 | RBridge-102 (B1) 102/0/47 | RBridge-5 (A6) 5/0/43 | 10G-SFPP-AOC-0701 | 7m
Ten 101/0/48 |  |  |  | r4:pA:c2:u42:p48 | r5:pA:c5:u41:p44 | RBridge-102 (B1) 102/0/48 | RBridge-5 (A6) 5/0/44 | 10G-SFPP-AOC-0701 | 7m
For 101/0/49 |  |  |  | u42:p49 | u43:p50 | RBridge-102 (B1) 102/0/49 | RBridge-103 (C1) 103/0/50 | 40G-QFSP-QFSP-C-0101 | 1m
For 101/0/50 |  |  |  | u42:p50 | u41:p49 | RBridge-102 (B1) 102/0/50 | RBridge-101 (A1) 101/0/49 | 40G-QFSP-QFSP-C-0101 | 1m
For 101/0/51 | [5 empty] | RBridge-102 (B1) 102/0/51
For 101/0/52 | [5 empty] | RBridge-102 (B1) 102/0/52

## Rbridge-103 (C1)
Rbridge-101 (A1)
Port | Server Name + Port | VLAN | Port-Channel | Cable Label - Location A | Cable Label - Location Z | Cable Label A | Cable Label Z | Cable Type | Cable Length | Notes
Ten 101/0/1 |  |  |  | u43:p1 | u01-u02:p4 | RBridge-103 (C1) 103/0/1 | ceph-lenovo01 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/2 |  |  |  | u43:p2 | u03-u04:p4 | RBridge-103 (C1) 103/0/2 | ceph-lenovo02 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/3 |  |  |  | u43:p3 | u05-u06:p4 | RBridge-103 (C1) 103/0/3 | ceph-lenovo03 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/4 |  |  |  | r4:pA:c2:u43:p4 |  | RBridge-103 (C1) 103/0/4
Ten 101/0/5 |  |  |  | r4:pA:c2:u43:p5 |  | RBridge-103 (C1) 103/0/5
Ten 101/0/6 |  |  |  | r4:pA:c2:u43:p6 |  | RBridge-103 (C1) 103/0/6
Ten 101/0/7 |  |  |  | r4:pA:c2:u43:p7 |  | RBridge-103 (C1) 103/0/7
Ten 101/0/8 |  |  |  | r4:pA:c2:u43:p8 |  | RBridge-103 (C1) 103/0/8
Ten 101/0/9 |  |  |  | r4:pA:c2:u43:p9 |  | RBridge-103 (C1) 103/0/9
Ten 101/0/10 |  |  |  | r4:pA:c2:u43:p10 |  | RBridge-103 (C1) 103/0/10
Ten 101/0/11 |  |  |  | r4:pA:c2:u43:p11 |  | RBridge-103 (C1) 103/0/11
Ten 101/0/12 |  |  |  | r4:pA:c2:u43:p12 |  | RBridge-103 (C1) 103/0/12
Ten 101/0/13 |  |  |  | r4:pA:c2:u43:p13 |  | RBridge-103 (C1) 103/0/13
Ten 101/0/14 |  |  |  | r4:pA:c2:u43:p14 |  | RBridge-103 (C1) 103/0/14
Ten 101/0/15 |  |  |  | r4:pA:c2:u43:p15 |  | RBridge-103 (C1) 103/0/15
Ten 101/0/16 |  |  |  | r4:pA:c2:u43:p16 |  | RBridge-103 (C1) 103/0/16
Ten 101/0/17 |  |  |  | r4:pA:c2:u43:p17 | u13-u14:p5 | RBridge-103 (C1) 103/0/17 | ceph-lenovo07 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/18 |  |  |  | r4:pA:c2:u43:p18 | u15-u16:p5 | RBridge-103 (C1) 103/0/18 | ceph-lenovo08 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/19 |  |  |  | r4:pA:c2:u43:p19 | u17-u18:p5 | RBridge-103 (C1) 103/0/19 | ceph-lenovo09 p5 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/20 |  |  |  | r4:pA:c2:u43:p20 |  | RBridge-103 (C1) 103/0/20
Ten 101/0/21 |  |  |  | r4:pA:c2:u43:p21 |  | RBridge-103 (C1) 103/0/21
Ten 101/0/22 |  |  |  | r4:pA:c2:u43:p22 |  | RBridge-103 (C1) 103/0/22
Ten 101/0/23 |  |  |  | r4:pA:c2:u43:p23 |  | RBridge-103 (C1) 103/0/23
Ten 101/0/24 |  |  |  | r4:pA:c2:u43:p24 |  | RBridge-103 (C1) 103/0/24
Ten 101/0/25 |  |  |  | r4:pA:c2:u43:p25 |  | RBridge-103 (C1) 103/0/25
Ten 101/0/26 |  |  |  | r4:pA:c2:u43:p26 |  | RBridge-103 (C1) 103/0/26
Ten 101/0/27 |  |  |  | r4:pA:c2:u43:p27 |  | RBridge-103 (C1) 103/0/27
Ten 101/0/28 |  |  |  | r4:pA:c2:u43:p28 |  | RBridge-103 (C1) 103/0/28
Ten 101/0/29 |  |  |  | r4:pA:c2:u43:p29 |  | RBridge-103 (C1) 103/0/29
Ten 101/0/30 |  |  |  | r4:pA:c2:u43:p30 |  | RBridge-103 (C1) 103/0/30
Ten 101/0/31 |  |  |  | r4:pA:c2:u43:p31 |  | RBridge-103 (C1) 103/0/31
Ten 101/0/32 |  |  |  | r4:pA:c2:u43:p32 |  | RBridge-103 (C1) 103/0/32
Ten 101/0/33 |  |  |  | r4:pA:c2:u43:p33 |  | RBridge-103 (C1) 103/0/33
Ten 101/0/34 |  |  |  | r4:pA:c2:u43:p34 |  | RBridge-103 (C1) 103/0/34
Ten 101/0/35 |  |  |  | r4:pA:c2:u43:p35 |  | RBridge-103 (C1) 103/0/35
Ten 101/0/36 |  |  |  | r4:pA:c2:u43:p36 |  | RBridge-103 (C1) 103/0/36
Ten 101/0/37 |  |  |  | r4:pA:c2:u43:p37 |  | RBridge-103 (C1) 103/0/37
Ten 101/0/38 |  |  |  | u43:p38 | u36:p3 | RBridge-103 (C1) 103/0/38 | ceph-quanta02 p3 | 10G-SFPP-TWX-0101 | 1m | audit cable length
Ten 101/0/39 |  |  |  | u43:p39 | u37:p4 | RBridge-103 (C1) 103/0/39 | ceph-quanta03 p4 | 10G-SFPP-TWX-0101 | 1m | audit cable length
Ten 101/0/40 |  |  |  | r4:pA:c2:u43:p40 | (reserved) | RBridge-103 (C1) 103/0/40 | (reserved) | (reserved) |  | (reserved for future uplink)
Ten 101/0/41 | Rbridge-13 (C2) |  |  | r4:pA:c2:u43:p41 | r5:pA:c13:u41:p45 | RBridge-103 (C1) 103/0/41 | RBridge-13 (C2) 13/0/45 | Non-Brocade Transceiver + LC-LC Fiber | 15m | Optical transceiver on loan from Chris Hill; should eventually be replaced with Brocade
Ten 101/0/42 | Rbridge-13 (C2) |  |  | r4:pA:c2:u43:p42 | r5:pA:c13:u41:p46 | RBridge-103 (C1) 103/0/42 | RBridge-13 (C2) 13/0/46 | Non-Brocade Transceiver + LC-LC Fiber | 15m | Optical transceiver on loan from Chris Hill; should eventually be replaced with Brocade
Ten 101/0/43 | Rbridge-13 (C2) |  |  | r4:pA:c2:u43:p43 | r5:pA:c13:u41:p47 | RBridge-103 (C1) 103/0/43 | RBridge-13 (C2) 13/0/47 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/44 | Rbridge-13 (C2) |  |  | r4:pA:c2:u43:p44 | r5:pA:c13:u41:p48 | RBridge-103 (C1) 103/0/44 | RBridge-13 (C2) 13/0/48 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/45 |  |  |  | r4:pA:c2:u43:p45 | r5:pA:c19:41:p41 | RBridge-103 (C1) 103/0/45 | RBRidge-19 (B5) 19/0/41 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/46 |  |  |  | r4:pA:c2:u43:p46 | r5:pA:c19:41:p42 | RBridge-103 (C1) 103/0/46 | RBRidge-19 (B5) 19/0/42 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/47 |  |  |  | r4:pA:c2:u43:p47 | r5:pA:c19:41:p43 | RBridge-103 (C1) 103/0/47 | RBRidge-19 (B5) 19/0/43 | 10G-SFPP-SR + LC-LC Fiber | 15m
Ten 101/0/48 |  |  |  | r4:pA:c2:u43:p48 | r5:pA:c19:41:p44 | RBridge-103 (C1) 103/0/48 | RBRidge-19 (B5) 19/0/44 | 10G-SFPP-SR + LC-LC Fiber | 15m
For 101/0/49 |  |  |  | r4:pA:c2:u43:p49 | r5:pA:c10:u41:p50 | RBridge-103 (C1) 103/0/49 | RBRidge-10 (D1) 10/0/50 | 40G-QFSP-SR4 + MTP-MTP Fiber | 15m
For 101/0/50 |  |  |  | u43:p50 | u42:p49 | RBridge-103 (C1) 103/0/50 | RBRidge-102 (B1) 10/0/49 | 40G-QFSP-QFSP-C-0101 | 1m
For 101/0/51 |  |  |  | r4:pA:c2:u43:p51 |  | RBridge-103 (C1) 103/0/51
For 101/0/52 |  |  |  | r4:pA:c2:u43:p52 |  | RBridge-103 (C1) 103/0/52

## Rbridge-104 (D6)
Rbridge-101 (A1)
Port | Server Name + Port | VLAN | Port-Channel | Cable Label - Location A | Cable Label - Location Z | Cable Label A | Cable Label Z | Cable Type | Cable Length | Notes
Ten 101/0/1 |  |  |  | u43:p1 | u01:p3 | RBridge-104 (D6) 104/0/1 | moc-haas01 p3 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/2 |  |  |  | u43:p2 | u02:p3 | RBridge-104 (D6) 104/0/2 | moc-services01 p3 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/3 |  |  |  | u43:p3 | u03:p3 | RBridge-104 (D6) 104/0/3 | moc-sdn01 p3 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/4 |  |  |  | u43:p4 | u04:p3 | RBridge-104 (D6) 104/0/4 | moc-control01 p3 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/5 |  |  |  | u43:p5 | u05:p3 | RBridge-104 (D6) 104/0/5 | moc-control02 p3 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/6 |  |  |  | u43:p6 | u06:p3 | RBridge-104 (D6) 104/0/6 | moc-compute01 p3 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/7 |  |  |  | u43:p7 |  | RBridge-104 (D6) 104/0/7 | engage1-emergency p3 | 10G-SFPP-TWX-0301 | 3m | audit cable length
Ten 101/0/8 |  |  |  | r4:pA:c2:u43:p8 |  | RBridge-104 (D6) 104/0/8
Ten 101/0/9 |  |  |  | r4:pA:c2:u43:p9 |  | RBridge-104 (D6) 104/0/9
Ten 101/0/10 |  |  |  | r4:pA:c2:u43:p10 |  | RBridge-104 (D6) 104/0/10
Ten 101/0/11 |  |  |  | r4:pA:c2:u43:p11 |  | RBridge-104 (D6) 104/0/11
Ten 101/0/12 |  |  |  | r4:pA:c2:u43:p12 |  | RBridge-104 (D6) 104/0/12
Ten 101/0/13 |  |  |  | r4:pA:c2:u43:p13 |  | RBridge-104 (D6) 104/0/13
Ten 101/0/14 |  |  |  | r4:pA:c2:u43:p14 |  | RBridge-104 (D6) 104/0/14
Ten 101/0/15 |  |  |  | r4:pA:c2:u43:p15 |  | RBridge-104 (D6) 104/0/15
Ten 101/0/16 |  |  |  | r4:pA:c2:u43:p16 |  | RBridge-104 (D6) 104/0/16
Ten 101/0/17 |  |  |  | u43:p17 | u01:p4 | RBridge-104 (D6) 104/0/17 | moc-haas01 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/18 |  |  |  | u43:p18 | u02:p4 | RBridge-104 (D6) 104/0/18 | moc-services01 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/19 |  |  |  | u43:p19 | u03:p4 | RBridge-104 (D6) 104/0/19 | moc-sdn01 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/20 |  |  |  | u43:p20 | u04:p4 | RBridge-104 (D6) 104/0/20 | moc-control01 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/21 |  |  |  | u43:p21 | u05:p4 | RBridge-104 (D6) 104/0/21 | moc-control02 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/22 |  |  |  | u43:p22 | u06:p4 | RBridge-104 (D6) 104/0/22 | moc-compute01 p4 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/23 |  |  |  | r4:pA:c2:u43:p23 |  | RBridge-104 (D6) 104/0/23
Ten 101/0/24 |  |  |  | r4:pA:c2:u43:p24 |  | RBridge-104 (D6) 104/0/24
Ten 101/0/25 |  |  |  | r4:pA:c2:u43:p25 |  | RBridge-104 (D6) 104/0/25
Ten 101/0/26 |  |  |  | r4:pA:c2:u43:p26 |  | RBridge-104 (D6) 104/0/26
Ten 101/0/27 |  |  |  | r4:pA:c2:u43:p27 |  | RBridge-104 (D6) 104/0/27
Ten 101/0/28 |  |  |  | r4:pA:c2:u43:p28 |  | RBridge-104 (D6) 104/0/28
Ten 101/0/29 |  |  |  | r4:pA:c2:u43:p29 |  | RBridge-104 (D6) 104/0/29
Ten 101/0/30 |  |  |  | r4:pA:c2:u43:p30 |  | RBridge-104 (D6) 104/0/30
Ten 101/0/31 |  |  |  | r4:pA:c2:u43:p31 |  | RBridge-104 (D6) 104/0/31
Ten 101/0/32 |  |  |  | r4:pA:c2:u43:p32 |  | RBridge-104 (D6) 104/0/32
Ten 101/0/33 |  |  |  | r4:pA:c2:u43:p33 |  | RBridge-104 (D6) 104/0/33
Ten 101/0/34 |  |  |  | r4:pA:c2:u43:p34 |  | RBridge-104 (D6) 104/0/34
Ten 101/0/35 |  |  |  | r4:pA:c2:u43:p35 |  | RBridge-104 (D6) 104/0/35
Ten 101/0/36 |  |  |  | r4:pA:c2:u43:p36 |  | RBridge-104 (D6) 104/0/36
Ten 101/0/37 |  |  |  | r4:pA:c2:u43:p37 |  | RBridge-104 (D6) 104/0/37
Ten 101/0/38 |  |  |  | r4:pA:c2:u43:p38 |  | RBridge-104 (D6) 104/0/38
Ten 101/0/39 |  |  |  | r4:pA:c2:u43:p39 |  | RBridge-104 (D6) 104/0/39
Ten 101/0/40 |  |  |  | r4:pA:c2:u43:p40 |  | RBridge-104 (D6) 104/0/40
Ten 101/0/41 |  |  |  | r4:pA:c2:u43:p41 | r4:pA:c2:u41:p45 | RBridge-104 (D6) 104/0/41 | RBridge-101 (A1) 101/0/45 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/42 |  |  |  | r4:pA:c2:u43:p42 | r4:pA:c2:u41:p46 | RBridge-104 (D6) 104/0/42 | RBridge-101 (A1) 101/0/46 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/43 |  |  |  | r4:pA:c2:u43:p43 | r4:pA:c2:u41:p47 | RBridge-104 (D6) 104/0/43 | RBridge-101 (A1) 101/0/47 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/44 |  |  |  | r4:pA:c2:u43:p44 | r4:pA:c2:u41:p48 | RBridge-104 (D6) 104/0/44 | RBridge-101 (A1) 101/0/48 | 10G-SFPP-TWX-0301 | 3m
Ten 101/0/45 |  |  |  | r4:pA:c2:u43:p45 | r5:pA:c2:u43:p41 | RBridge-104 (D6) 104/0/45 | RBridge-2 (D5) 2/0/41 | 10G-SFPP-TWX-0701 | 7m
Ten 101/0/46 |  |  |  | r4:pA:c2:u43:p46 | r5:pA:c2:u43:p42 | RBridge-104 (D6) 104/0/46 | RBridge-2 (D5) 2/0/42 | 10G-SFPP-TWX-0701 | 7m
Ten 101/0/47 |  |  |  | r4:pA:c2:u43:p47 | r5:pA:c2:u43:p43 | RBridge-104 (D6) 104/0/47 | RBridge-2 (D5) 2/0/43 | 10G-SFPP-TWX-0701 | 7m
Ten 101/0/48 |  |  |  | r4:pA:c2:u43:p48 | r5:pA:c2:u43:p44 | RBridge-104 (D6) 104/0/48 | RBridge-2 (D5) 2/0/44 | 10G-SFPP-TWX-0701 | 7m
For 101/0/49 |  |  |  | r4:pA:c2:u43:p49 | r5:pA:c5:u43:p50 | RBridge-104 (D6) 104/0/49 | RBridge-5 (A6) 5/0/50 | 10G-QFSP-AOC-1001 | 10m
For 101/0/50 | reserved |  |  | r4:pA:c2:u43:p50 | reserved | RBridge-104 (D6) 104/0/50 | reserved |  |  | Reserved for connection to a hypothetical future B6
For 101/0/51 |  |  |  | r4:pA:c2:u43:p51 |  | RBridge-104 (D6) 104/0/51
For 101/0/52 |  |  |  | r4:pA:c2:u43:p52 |  | RBridge-104 (D6) 104/0/52
4194304